## Standard Curve
Investigator: |  |  |  |  | Date:
Instrument:
Method ref.:
Notes:
Duplicate Label
Standard
conc. (mg/L) | Absorbance |  |  |  | Mean | 1σ | Std. Err.
[5 empty] | #DIV/0! | #DIV/0! | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | Minimum detection limit (mg/L): | 0.02
|  |  |  | Maximum detection limit (mg/L): | 2.5
|  | slope | offset
|  | mg/L | mg
| Linear regression | #REF! | #REF!
Error bars are standard error

## Denuder Assay
| Investigator: |  |  |  |  | Date: |  |  | Notes:
Instrument:
Method ref.:
| Total | Duplicate Label |  |  |  |  | Mean duplicate |  | Dilution, if any | [5 empty] | Adjusted | Total
| extracted | A | A | B | B | Absorbance |  | conc. | Primary |  |  | Secondary |  |  | conc. | constituent
Denuder Label | volume (mL) | Absorbance |  |  |  | Mean | Std. Err. | (mg/L) | Samp. | Tot. | DF | Samp. | Tot. | DF | (mg/L) | mass (µg) | Notes
Control 1
Control 2
Control 3
Control 4
Control 5
Control 6
[7 empty] | Minimum detection limit (mg/L): | 0.02 | [6 empty] | Mean total mass in controls (µg):
[7 empty] | Maximum detection limit (mg/L): | 2.5

## REA Flux
|  | Investigator: | [12 empty] | Date:
Notes:
[8 empty] | Total Mass (µg) |  | Mean Flow (Lpm) |  | Activation Ratio
For reference only; will not be printed |  |  |  |  | Duration | σw | β | [6 empty] | Concentration (µg/m3) |  |  | REA flux
Denuder Label | Total mass (µg) | Run label | Date | Start time | (min) | (m/s) |  | Up | Down | Up | Down | Up | Down | Up | Down | Diff. | µg/m2/s
Control 1
Control 2
Control 3
Control 4
Control 5
Control 6
For reference only; will not be printed